TECHNICAL SPECIFICATIONS	SECURITY SYSTEM

# DIVISION – 28 ELECTRONIC SAFETY AND SECURITY

# LEVEL 1__28 20 00 ELECTRONIC SURVEILLANCE

# LEVEL 2__28 23 00 VIDEO SURVEILLANCE

# LEVEL 3__28 23 19 NETWORK VIDEO RECORDERS

RASILIENT (NFDCloud) (for Cloud Recording & Storage)

Basis for design / specification. Software and or equipment shall be from the technology listed and or approved for proposed use related to (NFDCloud) private services listed at www.rasilient.com. or approved equal.

Note: Additional Technology may be available based on design. Please check www.rasilient.com

Note: All specifications below are a guild. Your actual design deliverable shall be the aggregation of the specific need based on calculation of solution. All calculations must be delivered as part of the package.

VIDEO SERVER (PURPOSE BUILT APPLIANCEFOR CLOUD BASED RECORDING AND STORAGE)

1.0GENERAL

1.1Cloud Recording Configuration

- Respondent shall provide edge devices and cloud storage utilized for a cloud storage solution.

- Respondent shall provide a private cloud configuration so end users have complete ownership of the recorded video.

- Respondent shall support many edge devices recording to the private cloud through their broadband.

- Respondent shall allow the edge devices in geographic locations (e.g., across states) connected by commonly available public networks for video recording (no latency impact).

1.2Cloud Storage

- Respondent shall provide a highly scalable cloud storage based on utilizing object based storage technology.

- Respondent shall provide an enterprise class object storage solution without a single point of failure.

1.3 Edge Device and VMS

- Respondents chosen / approved edge device shall support Windows OS and be able to run different standards based / qualified VMS.

- Respondents private cloud solution shall support recording video simultaneously from a mix of qualified VMS solutions from their associated edge devices.

- Respondents chosen cloud solution edge device shall be able to limit the broadband bandwidth for video recording upload to allow other/utilization usage at the edge sites.

- Respondents chosen cloud edge solution device shall be able to allow for "no limit" bandwidth utilization for video recording upload during selected evening hours of operation.

- Respondents chosen cloud edge solution device shall utilize an integrated GUI to illustrate the video upload performance, network drop percentage, and local and cloud storage usage.

- Respondents chosen cloud solution utilization of a qualified VMS, the edge device shall have a GUI to display the video frame drop count.

- Respondents chosen cloud solution edge device shall provide an integrated tool to check the broadband bandwidth.

1.4Lossy Broadband

- Respondents chosen Cloud solution shall allow for the broadband to be unavailable for hours to days (specified by the end users) without a loss of video.

- Respondents chosen Cloud solution shall allow the broadband to be lossy in packet transmission, meaning up to and including bi-directional random 10% packet drop, without losing video or affecting recording performance.

2.0   Wireless and Cellular

- Respondents chosen Cloud solution shall support wireless configuration with dynamic video upload algorithms to adjust to the signal strengths.

- Respondents chosen Cloud solution shall support mobile cellular configuration with dynamic video upload algorithms to adjust to the signal strengths.

2.1 Video Encryption

- Respondents chosen solution video shall have an option to be encrypted for security purposes.

- Respondents chosen solutions video encryption shall have no impact to the recording performance.

- Respondents chosen Cloud solution shall have the option to be "zero knowledge," meaning the cloud has no knowledge for any encryption key information.

- Respondents chosen Cloud solution shall utilize a encryption key of at least 256 bit.

2.1.1 Communications Security

- Respondents chosen Cloud solution communicating between the edge to the cloud shall be fully encrypted.

- Respondents chosen Cloud solution shall utilize a  encryption key at a minimum of 256 bit.

- Respondents chosen Cloud solution shall be based on the industry standard TLS 1.2 or better.

2.1.1.1Retention

- Respondents solution shall allow for the edge configuration and  its local retention and the cloud for long-term retention

- Respondents chosen solution shall allow extended retention in the cloud